Testing Information of Air filter

| Sample Name |  |
| --- | --- |
| Manufacturer | □None |
| Model | □None |
| Testing Standard | □EN 779:2002 □EN 779:2012 □ASHRAE 52.2 □ISO 16890 □IEST (HEPA) □EN 1822-3 (Filter Media) □EN 1822-1:2019 & ISO 29463-5:2022 (Filter) □EN 1822-1:2009 & EN 1822-5:2009 (Filter) □ISO 11155-1 □ISO 5011 □VDI 3926 □ISO 11057 □Breach Test: ____ Pa □Other |
| Testing Item | □Complete □Initial Resistance, Efficiency □Weight arrestance □Breach test □Dust Holding Capacity □Other |
| Testing Dust | □According to standard □A2 Fine Dust □A4 Coarse Dust □ASHRAE Dust |
| Air Flow Rate (Air Velocity) | □2000 CFM (3400 CMH) □2500 CFM (4250 CMH) □1000 CFM (1700 CMH) □Other Unit: □Air velocity Unit: |
| Final Pressure Drop | □According to standard □Custom: Pa |
| Designated Class | □None |
| Filter Material | □Synthetic □Glass □Cellulose □ePTFE □Other |
| Filter Dimention | Length x Width x Height Unit：□ mm □ inch Pocket Number： Pockets Pleat Number： Pleats Effective Media Area for Filter: m2 |

2023/2/14

Note:

- Please offer 3 sheets of A4 filter paper for EN 1822-5.

- The effective media area of filter must be filled in for EN 1822-5 or F grade of EN 779:2012.